## Results
Part Number | Description | Analog Input |  |  |  | Analog Output |  |  | General | Isolated Digital I/O |  | Relay Output | Timer/Counter | TTL DI/O
|  | Channels | Resolution(Bits) | Sampling Rates(S/s) | Type | Channels | Resolution(Bits) | Update Rate(S/s) | Bus | Input Channels | Output Channels | Channels | Channels | Input Channels | Output Channels
PCI-1706U-AE | 250 kS/s, 16-bit, Simultaneous 8-ch Universal PCI Multifunction Card | 8 | 16 | 250 K | Simultaneous Sample | 2 | 12 | 30 K | PCI | N/A | N/A | N/A | 2 | 16 (shared) | 16 (shared)
PCI-1710HGU-DE | 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | 2 | 12 | Static | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1710U-DE | 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | 2 | 12 | Static | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1710UL-DE | 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1711U-CE | Entry-level 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | 2 | 12 | Static | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1711UL-CE | Entry-level 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1712-AE | 1 MS/s, 12-bit, 16-ch PCI Multifunction Card | 16 | 12 | 1 M | Scan | 2 | 12 | 1 M | PCI | N/A | N/A | N/A | 3 | 16 (shared) | 16 (shared)
PCI-1712L-AE | 1 MS/s, 12-bit, 16-ch PCI Multifunction Card | 16 | 12 | 1 M | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 3 | 16 (shared) | 16 (shared)
PCI-1713U-BE | 100 kS/s, 12-bit, 32-ch Isolated Analog Input Universal PCI Card | 32 | 12 | 100 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1714U-BE | 12-bit, 4-ch, high speed up to 10/30 MSPS simultaneous analog input PCI card | 4 | 12 | 30 M | Simultaneous Sample | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1714UL-BE | 12-bit, 4-ch, high speed up to 10/30 MSPS simultaneous analog input PCI card | 4 | 12 | 10 M | Simultaneous Sample | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1715U-AE | 500 kS/s, 12-bit, 32-ch Isolated Analog Input Universal PCI Card | 32 | 12 | 500 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1716-AE | 250 kS/s, 16-bit, 16-ch PCI Multifunction Card | 16 | 16 | 250 K | Scan | 2 | 16 | 200 K | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1716L-AE | 250 kS/s, 16-bit, 16-ch PCI Multifunction Card | 16 | 16 | 250 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1718HDU-AE | 100 kS/s, 12-bit, 16-ch Universal PCI Multifunction Card | 16 | 12 | 100 K | Scan | 1 | 12 | 100 K | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1720U-BE | 12-bit, 4-ch Isolated Analog Output Universal PCI Card | N/A | N/A | N/A | N/A | 4 | 12 | Static | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1721-AE | 12-bit, 4-ch Analog Output PCI Card with 16-ch Digital I/O | N/A | N/A | N/A | N/A | 4 | 12 | 10 M | PCI | N/A | N/A | N/A | 1 | 16 (shared) | 16 (shared)
PCI-1723-AE | 16-bit, 8-ch Analog Output PCI Card with 16-ch Digital I/O | N/A | N/A | N/A | N/A | 8 | 16 | Static | PCI | N/A | N/A | N/A | N/A | 16 (shared) | 16 (shared)
PCI-1724U-AE | 14-bit, 32-ch Isolated Analog Output Universal PCI Card | N/A | N/A | N/A | N/A | 32 | 14 | Static | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1727U-AE | 14-bit, 12-ch Analog Output Universal PCI Card with 32-ch Digital I/O | N/A | N/A | N/A | N/A | 12 | 14 | Static | PCI | N/A | N/A | N/A | N/A | 16 | 16
PCI-1730U-BE | 32-ch Isolated Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 16 | 16 | N/A | N/A | 16 | 16
PCI-1733-BE | 32-ch Isolated Digital Input PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 32 | N/A | N/A | N/A | N/A | N/A
PCI-1734-CE | 32-ch Isolated Digital Output PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | 32 | N/A | N/A | N/A | N/A
PCI-1735U-AE | 64-ch Digital I/O and Counter Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 3 | 32 | 32
PCI-1737U-BE | 24-ch Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | 24 (shared) | 24 (shared)
PCI-1739U-AE | 48-ch Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | 48 (shared) | 48 (shared)
PCI-1742U-AE | 1 MS/s, 16-bit, 16-ch Universal PCI Multifunction Card | 16 | 16 | 1 M | Scan | 2 | 16 | 2 M | PCI | N/A | N/A | N/A | 1 | 16 | 16
PCI-1747U-AE | 250 kS/s, 16-bit, 64-ch Analog Input Universal PCI Card | 64 | 16 | 250 K | Scan | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | N/A | N/A
PCI-1750-BE | 32-ch Isolated Digital I/O and 1-ch Counter PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 16 | 16 | N/A | 1 | N/A | N/A
PCI-1750SO-AE | 32-ch Isolated Digital I/O and 1-ch Counter PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 16 | 16 | N/A | 1 | N/A | N/A
PCI-1751-BE | 48-ch Digital I/O and 3-ch Counter PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 3 | 48 (shared) | 48 (shared)
PCI-1752U-BE | 64-ch Isolated Digital Output Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | 64 | N/A | N/A | N/A | N/A
PCI-1752USO-BE | 64-ch Isolated Digital Output Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | 64 | N/A | N/A | N/A | N/A
PCI-1753-CE | 96-ch Digital I/O PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | 96 (shared) | 96 (shared)
PCI-1754-BE | 64-ch Isolated Digital Input PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 64 | N/A | N/A | N/A | N/A | N/A
PCI-1756-BE | 64-ch Isolated Digital I/O PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 32 | 32 | N/A | N/A | N/A | N/A
PCI-1757UP-AE | 24-ch Digital I/O Low Profile Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | N/A | 24 (shared) | 24 (shared)
PCI-1758UDI-AE | 128-ch Isolated Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 128 | N/A | N/A | N/A | N/A | N/A
PCI-1758UDIO-AE | 128-ch Isolated Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 64 | 64 | N/A | N/A | N/A | N/A
PCI-1758UDO-AE | 128-ch Isolated Digital I/O Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | 128 | N/A | N/A | N/A | N/A
PCI-1760U-BE | 8-ch Relay and 8-ch Isolated Digital Input Universal PCI Card with 8-ch Counter/Timer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 8 | N/A | 8 | 8 | N/A | N/A
PCI-1761-BE | 8-ch Relay and 8-ch Isolated Digital Input PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 8 | N/A | 8 | N/A | N/A | N/A
PCI-1762-BE | 16-ch Relay and 16-ch Isolated Digital Input PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | 16 | N/A | 16 | N/A | N/A | N/A
PCI-1780U-AE | 8-ch, 16-bit Counter/Timer Universal PCI Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCI | N/A | N/A | N/A | 8 | 8 | 8
PCI-1784U-AE | 4-axis Quadrature Encoder and 4-ch Counter Universal PCI Card with 8-ch Isolated Digital I/O | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | 4 | 4 (Shared) | 4 (Shared)
PCIE-1730-AE | 32-ch TTL and 32-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 16 | 16 | N/A | N/A | 16 | 16
PCIE-1730H-AE | 32-ch TTL and 32-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 16 | 16 | N/A | N/A | 16 | 16
PCIE-1750U-AE | 32-ch Isolated Digital I/O with universal output PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 16 | 16 | N/A | N/A | N/A | N/A
PCIE-1751-AE | 48-ch Digital I/O and 3-ch Counter PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | 3 | 48 (shared) | 48 (shared)
PCIE-1752-AE | 64-ch Isolated Digital Output PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | 64 | N/A | N/A | N/A | N/A
PCIE-1753-AE | 96-ch Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | N/A | 96 (shared) | 96 (shared)
PCIE-1754-AE | 64-ch Isolated Digital Input PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 64 | N/A | N/A | N/A | N/A | N/A
PCIE-1756-AE | 64-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 32 | 32 | N/A | N/A | N/A | N/A
PCIE-1756H-AE | 64-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 32 | 32 | N/A | N/A | N/A | N/A
PCIE-1758DI-AE | 128-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 128 | 0 | N/A | N/A | N/A | N/A
PCIE-1758DIO-AE | 128-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 64 | 64 | N/A | N/A | N/A | N/A
PCIE-1758DO-AE | 128-ch Isolated Digital I/O PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 0 | 128 | N/A | N/A | N/A | N/A
PCIE-1760-AE | 8-ch Relay and 8-ch Isolated Digital Input PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 8 | N/A | 8 | 2 | N/A | N/A
PCIE-1761H-AE | 8-ch Relay and 8-ch Isolated Digital Input w/ digital filter and interrupt PCIe Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 8 | N/A | 8 | N/A | N/A | N/A
PCIE-1762H-AE | 16-ch Relay and 16-ch Isolated Digital Input w/ digital filter & interrupt PCIe Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | 16 | N/A | 16 | N/A | N/A | N/A
PCIE-1765-AE | 12-ch Relay PCIe Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | N/A | 12 | N/A | N/A | N/A
PCIE-1802-AE | 8/4-ch, 24-Bit, 216 kS/s Dynamic Signal Acquisition PCI Express Card | 8 | 24 | 216 K | Simultaneous Sample | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | N/A | 1 | 2
PCIE-1802L-AE | 8/4-ch, 24-Bit, 216 kS/s Dynamic Signal Acquisition PCI Express Card | 4 | 24 | 216 K | Simultaneous Sample | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | N/A | 1 | 2
PCIE-1810-AE | 800 KS/s, 12-bit, 16-ch PCI Express Multifunction Card | 16 | 12 | 800 K | Scan | 2 | 12 | 500 K | PCIe | N/A | N/A | N/A | 2 | 24 (shared) | 24 (shared)
PCIE-1812-AE | 250 kS/s, 16-bit, 8-ch, Simultaneous Sampling Multi-function PCI Express DAQ Card | 8 | 16 | 250 K | Simultaneous Sample | 2 | 16 | 3 M | PCIe | N/A | N/A | N/A | 4 | 32(Shared) | 32(Shared)
PCIE-1813-AE | 38.4 kS/s, 26-Bit, 4-Ch, Simultaneous Sampling, Universal Bridge Input, Multifunction PCI Express Card | 4 | 26 | 38.4 K | Simultaneous Sample | 2 | 16 | 3 M | PCIe | N/A | N/A | N/A | 4 | 32(Shared) | 32(Shared)
PCIE-1816-AE | 1 MS/s, 16-bit, 16-ch PCI Express Multifunction DAQ Card | 16 | 16 | 1 M | Scan | 2 | 16 | 3 M | PCIe | N/A | N/A | N/A | 2 | 24 (shared) | 24 (shared)
PCIE-1816H-AE | 5 MS/s, 16-bit, 16-ch PCI Express Multifunction DAQ Card | 16 | 16 | 5 M | Scan | 2 | 16 | 3 M | PCIe | N/A | N/A | N/A | 2 | 24 (shared) | 24 (shared)
PCIE-1840-AE | 16-bit, 4-ch, high speed up to 125/80 MSPS DSA card | 4 | 16 | 125 M | Simultaneous Sample | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | N/A | N/A | N/A
PCIE-1840L-AE | 16-bit, 4-ch, high speed up to 125/80 MSPS DSA card | 4 | 16 | 80 M | Simultaneous Sample | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | N/A | N/A | N/A
PCIE-1884-AE | 32-bit, 4-ch Encoder Counter with Preload Position Compare FIFO PCI Express Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PCIe | N/A | N/A | N/A | 4 | 4 (Shared) | 4 (Shared)
PCL-833-BE | 3-axis Quadrature Encoder and 2-ch Counter ISA Card | N/A | N/A | N/A | N/A | N/A | N/A | N/A | ISA | N/A | N/A | N/A | N/A | N/A | N/A